**Title:** CLAMPS1 Doppler Lidar Vertical Stare Data

**Authors:** Petra Klein, OU SOM, pkklein@ou.edu; Elizabeth Smith, NOAA/OAR/NSSL, elizabeth.smith@noaa.gov; Tyler Bell, OU-CIMMS/NSSL, tyler.bell@noaa.gov; Lydia Bunting, OU-CIWRO/NSSL, lydia.bunting@noaa.gov

Data content questions can be directed to any author OR to the contacts listed at apps.nssl.noaa.gov/CLAMPS

**1.0 Dataset Overview**

These files contain 24 hour periods of data collected from the CLAMPS1 Halo Streamline Doppler lidar. While not conducting other scans, the lidar directs the beam to zenith, allowing for the measurement of vertical velocity. These data were collected during the TRACER project.

* 1. **Date range:** 25 May – 2 September 2022
	2. **Location:** Houston, TX; 29.7604 N, 95.3698 W, 24 m elevation
	3. **Estimated data availability**





**2.0 Instrument Description**

The Halo Streamline is a commercial platform. The Doppler lidar (DL) is an active remote-sensing instrument that provides range- and time-resolved measurements of radial velocity, attenuated backscatter, and signal-to-noise ratio (SNR). The principle of operation is similar to radar in that pulses of electromagnetic energy (infrared in this case) are transmitted into the atmosphere; the energy scattered back to the transceiver is collected and measured as a time-resolved signal. From the time delay between each outgoing transmitted pulse and the backscattered signal, the distance to the scatterer is inferred. The radial or line-of-sight velocity of the scatterers is determined from the Doppler frequency shift of the backscattered radiation. The DL uses a heterodyne detection technique in which the return signal is mixed with a reference laser beam (i.e., local oscillator) of known frequency. An onboard signal-processing computer then determines the Doppler frequency shift from the power spectra of the heterodyne signal. The energy content of the Doppler spectra can also be used to estimate attenuated backscatter. The DL operates in the near-infrared (IR;1.5 microns) and is sensitive to backscatter from micron-sized aerosols. Aerosols are ubiquitous in the lower troposphere and behave as ideal tracers of atmospheric winds. In contrast to radar, the DL is capable of measuring radial velocities under clear-sky conditions with very good precision – typically ~10 cm/sec (Newsom and Krishnamurthy 2020). It is important to note that DL scans are fully user configurable, so special attention should be paid to the scan strategy applied for this dataset.

Instrument specifications:

|  |  |
| --- | --- |
| Max range | 8 km (aerosol load dependent) |
| Min. range | 50-90m |
| Nyquist Limit | ~39 m/s |
| Range gate | Configurable, 18-60m |
| Precision | Velocity: <0.2 m/s |

**3.0 Data collection and processing:**

The Doppler lidar provides range-resolved, line-of-sight measurements of radial velocity, intensity (signal-to-noise ratio [SNR]+1), and attenuated backscatter. This measurement of vertical velocity is much more direct than that provided with the VAD scan files.

The provided files provide the intensity field (SNR+1), which can be used as a ‘filter’ for noise. A good rule of thumb cutoff is 1.01.

**4.0 Data format:**

Data are provided in netcdf format. The typical naming convention is clampsdlfpC2.c1.YYYYMMDD.HHmmss.cdf, following closely to ARM file naming convention. The ‘fp’ refers to ‘fixed point,’ which is our case zenith. The files have time and height dimensions.

Variables provided:

|  |  |  |
| --- | --- | --- |
| Name | Dimension | Unit |
| base\_time | Single value | Seconds (since 00 UTC 1 Jan 1970) |
| time\_offset | Time | Second (since base\_time) |
| hour | Time | Hours since 00UTC this day |
| height | Height | km AGL |
| azimuth | Time | Deg, azimuth angle of the scanner |
| elevation | Time | Deg, elevation angle of the scanner |
| velocity | Time, Height | m/s, **NOTE that this is the *w* field, so positive is up, negative is down despite the netcdf comment** |
| intensity | Time, Height | Unitless, SNR+1 |
| backscatter | Time, Height | km-1 sr-1, attenuated backscatter |
| cbh | Time | km AGL, cloud base height |
| internal\_temp, internal\_rh, tec\_flag, and tec\_voltage are all ‘housekeeping’ variables noting the instrument temperature and rh and the thermoelectric cooler status |
| lat | Time | Deg N, latitude |
| lon | Single value | Deg W, longitude |
| alt | Single value | m MSL, altitude above mean sea level |

 **5.0 Data Remarks**

Data should be consistently available, but note that periods of precipitation, fog, or other very low cloud may limit the level to which good data are collected. Note also that vertical velocity in light precipitation will be contaminated by the fall speed of the precipitation itself.

**6.0 References**

*Newsom, R. K., R. Krishnamurthy, 2020: Doppler lidar (DL) handbook. DOE Office of Science Atmospheric Radiation Measurement (ARM) Program (United States). DOE/SC/ARM/TR-101.*